AVPTesterFrame
Main UI class: displays test
Procedures, results and
commands for Test start/stop
ADevicesManager
Used for audio devices
enumeration
AudioDevicesDialog
AudioDevicesPanel
UI for devices configuration and
Calibration procedure
Parameter
r/w
Parameter
r/w
WxFileConfig (prefs.cpp)
Settings file for:
- devices configs (ID, sample rate)
- calibration parameters
- application paths
Start/stop
tests
AudioThreadEvent
Parameter
r/w
AudioIO
Main worker class:
- instantiates threads for both calibration and test procedures.
- manages portAudio streams
- originates inter-thread signalling via AudioThreadEvent events
AudioThread
Audio devices
calibration thread.
PaStream
Input/output audio stream
LevelAnalyser
Computes the level of
input/output audio streams
LevelMetrics
AudioTestThread
Test procedures thread.
TestManager
Manages all functions related
to ADC test procedures.
FFTAnalyser
Computes the
magnitude spectrum of the
input audio stream.
FFTPlotData

---
Signal generator
Configuration manager
Analysis engine
stepped
sine wave module
Signal
- Type
- Frequency
- Amplitude
Analyser
- Type
- FFT Size
- Averages
Frequency response
module
single
sine wave module
THD+N
module
twin tone
module
SNR
module
DAC
- API
- Name
- Rate
- Depth
ADC
- API
- Name
- Rate
- Depth
random noise
module
XTalk
module
Result Signal
LPCM File
Test Signal
LPCM File
Test Signal
LPCM File
Level-based
trigger
Recording
Engine
Test Signal
LPCM File
Playback
Engine
Audio Recording
Device driver
Test Signal
LPCM File
Audio Playback
Device driver
Test Signal
LPCM File
ADC (DUT)
Test Signal
LPCM File
DAC